## Intro
For optimal user experience, it is recommended to open this resource in the Excel desktop app.
How to use this budget template
This budget template is intended to be a project management tool to support planning for an adaptation implementation initiative under the areas of wildfire resilience, flood resilience, extreme heat resilience, and resilient community facilities.
Functions of the budget template include the following:
Activity cost estimate calculator: Under each project theme tab (Wildfire/Flood/Heat/Facilities) you will find a calculator that estimates costs for a set of activities. For each project activity, enter a value under Unit amount (highlighted in yellow) to propose a project scope. The Unit measurement column identifies the referenced unit scale. This will provide you with an estimated cost that is a mid-range estimate. Under the Description column you'll find information about the assumptions used when calculating this cost, and a cost range of a low to high estimate. If you prefer to calculate your project budget with a low- or high-range estimate, you can use this information to adapt the formula accordingly. This tool allows you to calculate for more than one activity in a project.
Staff time calculator: Staff time is broken down into project phases to help estimate the number of hours. To include multiple staff with varying hourly rates, you can add rows to account for different rates. You will need to determine whether you plan to mostly use external contractors or internal staff resources for project planning and implementation. This decision will be based on internal knowledge, skills and capacity, and it will significantly influence the level of staff time required.
Project budget estimate: You can use the outputs from the Activity cost estimate calculator to fill in the project budget categories. The activity mid-range estimates are based on the assumption that external consultants/contractors will be hired. These costs can be entered under the Work costs categories. If your community plans to mostly use internal staffing resources, then the low-range cost estimate may be more applicable.
Please note that these are rough estimates and should be confirmed using local cost information or contractor quotes. The intent of the tool is to provide an overall sense of the resources required for the project, which can help you plan for internal budgeting, financing, and funding applications.

## Example
For optimal user experience, it is recommended to open this resource in the Excel desktop app.
Project budget example: Community heat safety outreach
Project description: A multi-layered community outreach project, including a broad communications campaign, community engagement workshops, direct wellness checks and distribution of key resources/equipment.
ACTIVITY COST ESTIMATE CALCULATOR
Use this tool to estimate costs for relevant project activities.
For each project activity, enter a value under Unit amount. This will provide you with an estimated cost that is a mid-range estimate.
If you prefer to calculate your project budget with a low- or high-range estimate, you can use the information in the Description column to adapt the formula accordingly. The mid-range estimates are based on the assumption that external consultants will be hired. If your community plans to mostly use internal staffing resources, then the low-range cost estimate may be more applicable.
Activity | Unit amount | Unit measurement | Mid-range estimate | Description
Installation of shade structures | 0 | Per structure | 0 | Shade structures (e.g., pergolas, canopies) provide protection from direct sunlight in public spaces. Costs depend on materials, size and installation complexity. Costs range from $5,000 per structure (low estimate) to $40,000 per structure (high estimate).
Tree planting (urban) | 0 | Per tree | 0 | Planting trees in urban areas provides shade and reduces heat island effects. Costs include saplings, soil preparation, labour, infrastructure modifications and first-year maintenance. Costs range from $200 per tree (low estimate) to $15,000 per tree (high estimate).
Installation of drinking water fountains | 2 | Per fountain | 14000 | Water fountains provide access to drinking water in public spaces. Costs include plumbing, installation and maintenance. Costs range from $2,000 per fountain (low estimate) to $15,000 per fountain (high estimate).
Installation of misting stations | 0 | Per station | 0 | Misting stations provide evaporative cooling in public spaces. Costs include equipment, water supply and installation. Costs range from $4,000 per station (low estimate) to $25,000 per station (high estimate).
Installation of splash pads | 0 | Per splash pad | 0 | Splash pads provide interactive water play and effective cooling in public spaces. Costs include water features, drainage, water-treatment systems (recirculating or single-pass), site preparation, and installation. Cost range from $50,000 (low estimate) to $500,000 (high estimate)
Cooling equipment upgrade or installation | 0 | Per facility | 0 | Installation or replacement of cooling equipment (e.g., air conditioning units, chillers, heat pumps) in community centres, libraries, or other public facilities reduces vulnerability during extreme heat events. Costs vary widely depending on the size of the facility; type of equipment (split systems, rooftop units, central cooling); energy efficiency requirements; and whether upgrades require electrical or structural retrofits. Costs range from $20,000 per facility (low estimate) to $250,000 per facility (high estimate).
Cooling kits for vulnerable populations | 200 | Per kit | 10000 | Cooling kits include items like portable fans, cooling towels and water bottles for vulnerable individuals. Costs depend on the contents of the kit. Costs range from $25 per kit (low estimate) to $100 per kit (high estimate).
Heat safety education and outreach | 1 | Per campaign | 25000 | Public education campaigns raise awareness about heat risks and safety measures. Costs include materials, advertising and community engagement. Costs range from $10,000 per campaign (low estimate) to $50,000 per campaign (high estimate).
Cooling centres – extended public building hours | 0 | Per hour | 0 | The hours of public buildings (e.g., libraries, community centres) can be extended so they can serve as cooling centres. Costs include staffing, utilities and supplies. Costs range from $100 per hour extended (low estimate) to $500 per hour extended (high estimate).
Cooling buses – extended deployment of city buses | 0 | Per bus per hour | 0 | City buses can be used as mobile cooling centres or to transport people to cooling centres. Costs include fuel, staffing and maintenance. Multiply the total by the number of buses to be included. Costs range from $100 per bus per hour (low estimate) to $250 per bus per hour (high estimate).
| Estimated activity total |  | 49000 | Cost estimate range for more than one activity
PROJECT BUDGET ESTIMATE
Use this tool to generate a complete estimate of all staff and non-staff costs required to plan and deliver the project.
Start by entering staffing hours and rates in the Staff cost estimator to calculate labour costs for planning, engagement, coordination, and project delivery.
Next, use the Work costs section to capture all non-staff expenses. Input activity cost totals generated using the Activity cost estimate calculator (above) under appropriate categories and add any additional project expenses (e.g., meetings, communications, honoraria, etc.)
The final rows will automatically calculate subtotals, contingency, taxes, and the overall project total. Taxes are calculated at 5% by default; the formula can be edited to reflect your applicable tax rate.
Staff time calculator | Hours | Rate | Total | Notes
Planning and preliminary work | 50 | 150 | 7500
Design and development | 75 | 150 | 11250
Contract administration and liaising | 25 | 150 | 3750
Engagement and communications | 150 | 150 | 22500 | Public communications, interdepartmental engagement and community workshops
Monitoring and reporting | 25 | 150 | 3750
| Total staffing costs |  | 48750
Work costs |  |  | Total | Notes
Design/feasibility (professional services) |  |  | 10000 | Contract with local non-profit to support wellness checks
Capital costs (professional services) |  |  | 15000 | 15 portable A/Cs
Supplies and equipment |  |  | 10000 | 200 cooling kits
Meeting costs |  |  | 7000 | 2 community workshops (50 participants, lunch @ $50/pp, $1,000 for venue)
Communications (graphic design, printing, promotions) |  |  | 2000 | Social media paid promotions, print outreach materials
Office expenditures |  |  | 500
Honoraria / cultural protocol |  |  | 4000 | Honoraria ($100/pp) for participation of equity-deserving groups in the workshops
| Total work costs |  | 48500
| Contingency (10% suggested) |  | 9725
| Taxes (5%) |  | 2225
| PROJECT TOTAL |  | 109200

## Wildfire
For optimal user experience, it is recommended to open this resource in the Excel desktop app.
Budget template: Community wildfire resilience
ACTIVITY COST ESTIMATE CALCULATOR
Use this tool to estimate costs for relevant project activities.
For each project activity, enter a value under Unit amount. This will provide you with an estimated cost that is a mid-range estimate
If you prefer to calculate your project budget with a low- or high-range estimate, you can use the information in the Description column to adapt the formula accordingly. The mid-range estimates are based on the assumption that external consultants will be hired. If your community plans to mostly use internal staffing resources, then the low-range cost estimate may be more applicable.
Activity | Unit amount | Unit measurement | Mid-range estimate | Description
Fire-resistant vegetation management or replacement |  | Hectare | 0 | This is the removal of highly flammable vegetation and replacement with fire-resistant species (e.g., deciduous trees, low-flammability ground cover). Costs depend on vegetation density, site accessibility and whether planting or reseeding is included. They include site preparation, planting and maintenance. Activities may include creating fuel-reduced buffer zones, including thinning vegetation, removing deadwood, and creating defensible space around communities or structures. Costs range from $5,000 per hectare (low estimate) to $15,000 per hectare (high estimate).
Construction of firebreaks |  | Linear metre | 0 | Firebreaks are cleared strips of land that act as barriers to slow or stop the spread of wildfires. Costs vary based on vegetation type, terrain and equipment used (e.g., chainsaws, bulldozers). Non-combustible materials may be laid over soil to arrest fire spread. Activities may include digging trenches to remove combustible material and create barriers to fire spread. Costs for trenches depend on depth, width and soil conditions. Costs range from $50 per linear metre (low estimate) to $750 per linear metre (high estimate).
Cultural or prescribed burn |  | Hectare | 0 | This activity involves the planned and controlled application of fire to specific land areas to manage vegetation, lower hazardous fuels and strengthen habitats through increased biodiversity. Costs will differ depending on type of vegetation and the remoteness of the burn location. Costs range from $1,500 per hectare (low estimate) to $8,000 per hectare (high estimate).
Fire-resistant defensible space creation around structures |  | Linear metre | 0 | Clearing vegetation and flammable materials within 30 metres of buildings creates defensible space around them. Costs depend on property size and vegetation density. Costs range from $10 per linear metre (low estimate) to $300 per linear metre (high estimate).
Delivering wildfire prevention training and solutions |  | Session/ workshop | 0 | This activity involves the delivery of FireSmart training workshops, community education and preparedness planning. Costs include instructor fees, training materials and logistical support. Costs vary with the number of participants, level of customization (e.g., municipal staff versus residents), and whether additional tools or assessments (e.g., home ignition zone evaluations) are provided. Costs range from $5,000 per session (low estimate) to $25,000 per session (high estimate).
| Estimated activity total |  | 0
PROJECT BUDGET ESTIMATE
Use this tool to generate a complete estimate of all staff and non-staff costs required to plan and deliver the project.
Start by entering staffing hours and rates in the Staff cost estimator to calculate labour costs for planning, engagement, coordination, and project delivery.
Next, use the Work costs section to capture all non-staff expenses. Input activity cost totals generated using the Activity cost estimate calculator (above) under appropriate categories and add any additional project expenses (e.g., meetings, communications, honoraria, etc.)
The final rows will automatically calculate subtotals, contingency, taxes, and the overall project total. Taxes are calculated at 5% by default; the formula can be edited to reflect your applicable tax rate.
Staff time calculator | Hours | Rate | Total | Notes
Planning and preliminary work |  |  | 0
Design and development |  |  | 0
Contract administration and liaising |  |  | 0 | If working with an external contractor
Engagement and communications |  |  | 0 | Public communications and interdepartmental engagement
Monitoring and reporting |  |  | 0
Optional: Add rows for additional tasks or for additional staff with different hourly rates. |  |  | 0
| Total staffing costs |  | 0
Work costs |  |  | Total | Notes
Design/feasibility (professional services)
Capital costs (professional services)
Supplies and equipment
Meeting costs
Communications (graphic design, printing, promotions)
Office expenditures
Honoraria / cultural protocol
| Total work costs |  | 0
| Contingency (10% suggested) |  | 0
| Taxes (5%) |  | 0
| PROJECT TOTAL |  | 0

## Flood
For optimal user experience, it is recommended to open this resource in the Excel desktop app.
Budget template: Community flood resilience
ACTIVITY COST ESTIMATE CALCULATOR
Use this tool to estimate costs for relevant project activities.
For each project activity, enter a value under Unit amount. This will provide you with an estimated cost that is a mid-range estimate.
If you prefer to calculate your project budget with a low- or high-range estimate, you can use the information in the Description column to adapt the formula accordingly. The mid-range estimates are based on the assumption that external consultants will be hired. If your community plans to mostly use internal staffing resources, then the low-range cost estimate may be more applicable.
Activity | Unit amount | Unit measurement | Mid-range estimate | Description
Coastal or floodplain restoration |  | Linear metre | 0 | Activities include shoreline stabilization with natural materials (e.g., logs, brush, live staking); riparian planting (trees, shrubs, grasses); and installation of erosion control fabrics or bioengineering structures. Costs vary depending on site conditions (e.g., slope, soil stability), accessibility, plant density, and whether additional erosion control or in-water works are required. Costs range from $50 per linear metre (low estimate) to $500 per linear metre (high estimate).
Permeable pavement |  | Square metre | 0 | Permeable pavement allows water to infiltrate through the surface, reducing runoff. Costs depend on materials (e.g., permeable concrete, porous asphalt, interlocking pavers) and installation complexity. Costs range from $70 per square metre (low estimate) to $150 per square metre (high estimate).
Rain gardens |  | Square metre | 0 | Rain gardens are shallow depressions planted with native vegetation to capture and filter stormwater. Costs include excavation, soil amendments, plants and labour. Costs range from $40 per square metre (low estimate) to $150 per square metre (high estimate).
Bioswales |  | Linear metre | 0 | Bioswales are linear, vegetated channels designed to convey and treat stormwater. Costs depend on length, width, vegetation and subsurface materials. Costs range from $150 per linear metre (low estimate) to $300 per linear metre (high estimate).
Constructed wetlands |  | Hectare | 0 | Constructed wetlands mimic natural wetlands to treat and store stormwater. Costs include excavation, liner materials, vegetation and maintenance. Costs range from $30,000 per hectare (low estimate) to $120,000 per hectare (high estimate).
Stormwater ponds |  | Cubic metre of storage | 0 | Detention ponds temporarily store stormwater to reduce peak flows. Costs depend on excavation, lining and outlet structures. Costs range from $25 per cubic metre of storage (low estimate) to $150 per cubic metre of storage (high estimate).
Tree planting (coastal/riparian) |  | Linear metre | 0 | Riparian planting involves restoring vegetation along watercourses to stabilize banks and reduce erosion. Costs include plants, labour and site preparation. Costs range from $10 per linear metre (low estimate) to $50 per linear metre (high estimate).
Tree planting (urban) |  | Per tree | 0 | Planting trees in urban areas helps to manage stormwater flow. Costs include saplings, soil preparation, labour, infrastructure modifications and first-year maintenance. Costs range from $200 per tree (low estimate) to $15,000 per tree (high estimate).
Nature-based solutions for flood management community training |  | Session/ Workshop | 0 | These activities include delivery of nature-based solutions workshops, community education and implementation planning. Costs include facilitator fees, training materials and logistical support. Costs vary with the number of participants, roles of coordination (e.g., municipal staff versus consultant) and venue location. Costs range from $5,000 per session (low estimate) to $25,000 per session (high estimate).
| Estimated activity total |  | 0
PROJECT BUDGET ESTIMATE
Use this tool to generate a complete estimate of all staff and non-staff costs required to plan and deliver the project.
Start by entering staffing hours and rates in the Staff cost estimator to calculate labour costs for planning, engagement, coordination, and project delivery.
Next, use the Work costs section to capture all non-staff expenses. Input activity cost totals generated using the Activity cost estimate calculator (above) under appropriate categories and add any additional project expenses (e.g., meetings, communications, honoraria, etc.)
The final rows will automatically calculate subtotals, contingency, taxes, and the overall project total. Taxes are calculated at 5% by default; the formula can be edited to reflect your applicable tax rate.
Staff time calculator | Hours | Rate | Total | Notes
Planning and preliminary work |  |  | 0
Design and development |  |  | 0
Contract administration and liaising |  |  | 0 | If working with an external contractor
Engagement and communications |  |  | 0 | Public communications and interdepartmental engagement
Monitoring and reporting |  |  | 0
Optional: Add rows for additional tasks or for additional staff with different hourly rates. |  |  | 0
| Total staffing costs |  | 0
Work costs |  |  | Total | Notes
Design/feasibility (professional services)
Capital costs (professional services)
Supplies and equipment
Meeting costs
Communications (graphic design, printing, promotions)
Office expenditures
Honoraria / cultural protocol
| Total work costs |  | 0
| Contingency (10% suggested) |  | 0
| Taxes (5%) |  | 0
| PROJECT TOTAL |  | 0

## Heat
For optimal user experience, it is recommended to open this resource in the Excel desktop app.
Budget template: Community heat resilience
ACTIVITY COST ESTIMATE CALCULATOR
Use this tool to estimate costs for relevant project activities.
For each project activity, enter a value under Unit amount. This will provide you with an estimated cost that is a mid-range estimate.
If you prefer to calculate your project budget with a low- or high-range estimate, you can use the information in the Description column to adapt the formula accordingly. The mid-range estimates are based on the assumption that external consultants will be hired. If your community plans to mostly use internal staffing resources, then the low-range cost estimate may be more applicable.
Activity | Unit amount | Unit measurement | Mid-range estimate | Description
Installation of shade structures |  | Per structure | 0 | Shade structures (e.g., pergolas, canopies) provide protection from direct sunlight in public spaces. Costs depend on materials, size and installation complexity. Costs range from $5,000 per structure (low estimate) to $40,000 per structure (high estimate).
Tree planting (urban) |  | Per tree | 0 | Planting trees in urban areas provides shade and reduces heat island effects. Costs include saplings, soil preparation, labour, infrastructure modifications and first-year maintenance. Costs range from $200 per tree (low estimate) to $15,000 per tree (high estimate).
Installation of drinking water fountains |  | Per fountain | 0 | Water fountains provide access to drinking water in public spaces. Costs include plumbing, installation and maintenance. Costs range from $2,000 per fountain (low estimate) to $15,000 per fountain (high estimate).
Installation of misting stations |  | Per station | 0 | Misting stations provide evaporative cooling in public spaces. Costs include equipment, water supply and installation. Costs range from $4,000 per station (low estimate) to $25,000 per station (high estimate).
Installation of splash pads |  | Per splash pad | 0 | Splash pads provide interactive water play and effective cooling in public spaces. Costs include water features, drainage, water-treatment systems (recirculating or single-pass), site preparation, and installation. Cost range from $50,000 (low estimate) to $500,000 (high estimate).
Cooling equipment upgrade or installation |  | Per facility | 0 | Installation or replacement of cooling equipment (e.g., air conditioning units, chillers, heat pumps) in community centres, libraries, or other public facilities reduces vulnerability during extreme heat events. Costs vary widely depending on the size of the facility; type of equipment (split systems, rooftop units, central cooling); energy efficiency requirements; and whether upgrades require electrical or structural retrofits. Costs range from $20,000 per facility (low estimate) to $250,000 per facility (high estimate).
Cooling kits for vulnerable populations |  | Per kit | 0 | Cooling kits include items like portable fans, cooling towels and water bottles for vulnerable individuals. Costs depend on the contents of the kit. Costs range from $25 per kit (low estimate) to $100 per kit (high estimate).
Heat safety outreach and programming |  | Per campaign | 0 | Public outreach and response campaigns raise awareness about heat risks and connect residents to safety measures. Costs include community engagement and program development. Costs range from $10,000 per campaign (low estimate) to $50,000 per campaign (high estimate).
Cooling centres – extended public building hours |  | Per hour | 0 | The hours of public buildings (e.g., libraries, community centres) can be extended so they can serve as cooling centres. Costs include staffing, utilities and supplies. Costs range from $100 per hour extended (low estimate) to $500 per hour extended (high estimate).
Cooling buses – extended deployment of city buses |  | Per bus per hour | 0 | City buses can be used as mobile cooling centres or to transport people to cooling centres. Costs include fuel, staffing and maintenance. Multiply the total by the number of buses to be included. Costs range from $100 per bus per hour (low estimate) to $250 per bus per hour (high estimate).
| Estimated activity total |  | 0
PROJECT BUDGET ESTIMATE
Use this tool to generate a complete estimate of all staff and non-staff costs required to plan and deliver the project.
Start by entering staffing hours and rates in the Staff cost estimator to calculate labour costs for planning, engagement, coordination, and project delivery.
Next, use the Work costs section to capture all non-staff expenses. Input activity cost totals generated using the Activity cost estimate calculator (above) under appropriate categories and add any additional project expenses (e.g., meetings, communications, honoraria, etc.)
The final rows will automatically calculate subtotals, contingency, taxes, and the overall project total. Taxes are calculated at 5% by default; the formula can be edited to reflect your applicable tax rate.
Staff time calculator | Hours | Rate | Total | Notes
Planning and preliminary work |  |  | 0
Design and development |  |  | 0
Contract administration and liaising |  |  | 0 | If working with an external contractor
Engagement and communications |  |  | 0 | Public communications and interdepartmental engagement
Monitoring and reporting |  |  | 0
Optional: Add rows for additional tasks or for additional staff with different hourly rates. |  |  | 0
| Total staffing costs |  | 0
Work costs |  |  | Total | Notes
Design/feasibility (professional services)
Capital costs (professional services)
Supplies and equipment
Meeting costs
Communications (graphic design, printing, promotions)
Office expenditures
Honoraria / cultural protocol
| Total work costs |  | 0
| Contingency (10% suggested) |  | 0
| Taxes (5%) |  | 0
| PROJECT TOTAL |  | 0

## Facilities
For optimal user experience, it is recommended to open this resource in the Excel desktop app.
Budget template: Resilient community facilities
ACTIVITY COST ESTIMATE CALCULATOR
Use this tool to estimate costs for relevant project activities.
For each project activity, enter a value under Unit amount. This will provide you with an estimated cost that is a mid-range estimate.
If you prefer to calculate your project budget with a low- or high-range estimate, you can use the information in the Description column to adapt the formula accordingly. The mid-range estimates are based on the assumption that external consultants will be hired. If your community plans to mostly use internal staffing resources, then the low-range cost estimate may be more applicable.
Activity | Unit amount | Unit measurement | Mid-range estimate | Description
Permafrost resilience projects | 0 | Square metre | 0 | These projects include reinforcing walls, roofs and beams to withstand ground movement caused by permafrost thaw. They also include foundation strengthening and ground insulation. Costs vary based on soil conditions and depth of reinforcement, extent of reinforcement and materials used, and type and depth of insulation. Costs range from $200 per square metre (low estimate) to $2,500 per square metre (high estimate).
Green roof installation | 0 | Square metre | 0 | A green roofing system is partially or completely covered with vegetation planted over a waterproof membrane. Additional layers may include drainage and irrigation systems. Costs range from $150 per square metre (low estimate) to $700 per square metre (high estimate).
Cooling equipment upgrade or installation | 0 | Per facility | 0 | Installation or replacement of cooling equipment (e.g., air conditioning units, chillers, heat pumps) in community centres, libraries, or other public facilities reduces vulnerability during extreme heat events. Costs vary widely depending on the size of the facility; type of equipment (split systems, rooftop units, central cooling); energy efficiency requirements; and whether upgrades require electrical or structural retrofits. Costs range from $20,000 per facility (low estimate) to $250,000 per facility (high estimate).
Indoor air quality improvements | 0 | Per facility | 0 | Improving indoor air quality involves installing or upgrading HVAC systems, air purifiers and ventilation systems. Costs vary based on system complexity and building size. Costs range from $2,000 per facility (low estimate) to $50,000 per facility (high estimate).
Water use reduction or storage projects | 0 | Per cubic metre of storage | 0 | Water storage projects include components such as tanks or cisterns, pumps and filtration. Costs range from $200 per cubic metre of storage (low estimate) to $4,000 per cubic metre of storage (high estimate).
Fire-resistant material installation | 0 | Square metre of building envelope | 0 | Replacing or upgrading materials (e.g., roofing, siding, insulation) with alternatives like metal, concrete or treated wood makes facilities more fire-resistant. Costs vary based on material choice and building size. Costs range from $30 per square metre of building envelope (low estimate) to $400 per square metre of building envelope (high estimate).
Fire-resistant defensible space creation around structures | 0 | Linear metre | 0 | Clearing vegetation and flammable materials within 30 metres of buildings creates defensible space around them. Costs depend on property size and vegetation density. Costs range from $10 per linear metre (low estimate) to $300 per linear metre (high estimate).
Storm-resilient material installation | 0 | Square metre of building envelope | 0 | Storm-resilient materials include impact-resistant windows, reinforced roofing, storm-proof siding and floodproofing. Costs depend on material quality and building design. Costs range from $150 per square metre of building envelope (low estimate) to $900 per square metre of building envelope (high estimate).
Community refrigeration/food storage installation or upgrades | 0 | Per unit | 0 | Walk-in refrigerators or freezers can be installed or upgraded for community use. Costs depend on size, energy efficiency and installation complexity. Costs range from $10,000 per unit (low estimate) to $200,000 per unit (high estimate).
Back-up power installation (diesel generator) | 0 | Per kW diesel generator | 0 | Installing backup diesel generators can protect critical community facilities. Costs vary based on capacity and installation requirements. Costs range from $500 per kW (low estimate) to $3,000 per kW (high estimate).
Back-up power installation (battery) | 0 | Per kW battery | 0 | Installing backup battery systems can protect critical community facilities. Costs vary based on capacity and installation requirements. Costs range from $1,200 per kW (low estimate) to $8,000 per kW (high estimate).
| Estimated activity total |  | 0
PROJECT BUDGET ESTIMATE
Use this tool to generate a complete estimate of all staff and non-staff costs required to plan and deliver the project.
Start by entering staffing hours and rates in the Staff cost estimator to calculate labour costs for planning, engagement, coordination, and project delivery.
Next, use the Work costs section to capture all non-staff expenses. Input activity cost totals generated using the Activity cost estimate calculator (above) under appropriate categories and add any additional project expenses (e.g., meetings, communications, honoraria, etc.)
The final rows will automatically calculate subtotals, contingency, taxes, and the overall project total. Taxes are calculated at 5% by default; the formula can be edited to reflect your applicable tax rate.
Staff Time Calculator | Hours | Rate | Total | Notes
Planning and preliminary work |  |  | 0
Design and development |  |  | 0
Contract administration and liaising |  |  | 0 | If working with an external contractor
Engagement and communications |  |  | 0 | Public communications and interdepartmental engagement
Monitoring and reporting |  |  | 0
Optional: Add rows for additional tasks or for additional staff with different hourly rates. |  |  | 0
| Total staffing costs |  | 0
Work costs |  |  | Total | Notes
Design/feasibility (professional services)
Capital costs (professional services)
Supplies and equipment
Meeting costs
Communications (graphic design, printing, promotions)
Office expenditures
Honoraria / cultural protocol
| Total work costs |  | 0
| Contingency (10% suggested) |  | 0
| Taxes (5%) |  | 0
| PROJECT TOTAL |  | 0